## Slide 1
ITRF - LhARA
General Facility Infrastructure and Integration
ITRF WP2 & LhARA WP1.6
1272-pa1-wp2-prs-0010-v1.0-ITRF-24-month-design-review-WP6-infrastructure-2024-09-02
24 Month Design Review
2nd September 2024
Clive Hill, UKRI-STFC-Daresbury Laboratory, On behalf of the team
Notes: The abstract pattern can be removed or repositioned if required. Be careful to ‘Send to Back’ so that it does not obscure any important information.

## Slide 2
Facility Layout Ground Floor
71m
Water chiller
Water chiller
Water
Tank
Pumps
Transformers
Access
Rack Room 4
Rack Room 3
Water Plant Room Heat Exchangers
Access
Fenced Area
Outside Pen
Switchboard
Rack Room 2
RF Room
Rack Room 1
Area 3
Area 2
Area 1
Laser Room
Target & Capture Room
Laser Room Technical Corridor
Low Energy Line
15 MeV Protons
15-127 MeV Protons
5-34 MeV/u Ions
Fixed Field Accelerator
High Energy Line
Area 5
Area 4
Area 6
In Vivo Control Room
In Vivo Prep Room
Assembly and Clean Room
Acc Control Room
Meeting Room
Office
32m
Concrete Shielding
In Vivo User
Station
Rack Room 4

## Slide 3
Concrete Bunker Shielding
FFA
Target and Capture
Low Energy Line
Laser Room
High Energy Line
In Vivo Station
Concrete Shielding Thickness (Assumptions)
Target and Capture 0.5m
Low Energy Line 0.5m
FFA Area 1.0m
High Energy Line 1.0m
In Vivo Station 1.0m
Access doors
Low Energy In Vitro Station
High Energy In Vitro Station
6m
16.7m
15.3m
12.6m
14.8m
12.3m
6.3m
12m
5.6m

## Slide 4
Low Energy In Vitro Station
High Energy In Vitro Station
Low Energy Line
High Energy Line
Facility Layout First Floor

## Slide 5
Low Energy In Vitro Station
High Energy In Vitro Station
Control Station
Control Station
Facility Layout Second Floor

## Slide 6
Low Energy Line
100 TW Ti:Sapphire Laser
Target System
Capture
Low Energy In Vitro End Station
Low Energy In Vitro End Station
Low Energy Line
3m

## Slide 7
Stage 1 Low Energy Line
Low Energy In Vitro End Station

## Slide 8
Diagnostics chamber
35°
35°
Tape Target
Diagnostics Camera
Camera
Tape target
Gabor Lens 01 & 02
Tape Target

## Slide 9
100mm Corrector Magnet
Low Energy Line
Corrector Magnet
Shield Wall
RF Cavity
Beam Stop
+200mm
RF Cavity
01
02
03
04
05
06
07
Target Chamber
500mm
+1145mm
0m
+0mm
+200mm
+400mm
+200mm
+546mm
+1157mm
+3959mm
+7666mm
+9323mm
+13380mm
+15037mm
+17140mm
05
06
+400mm
Beam Stop
Shield Wall
Corrector Magnet
Beam Profile Monitor
For contingency

## Slide 10
Low Energy Line Support Systems

## Slide 11
Low Energy Line Support Systems Example
Support Beam
Support Pedestal
Kinematic supports
Lifting points

## Slide 12
FFA Injection Line & Ring Magnet Yoke
Extraction kicker magnet
Extraction septum magnet
Injection septum magnet
Injection kicker magnet
Ring Magnet
Preliminary LhARA FFA magnet specification:
lattice : spiral scaling singlet,
N: 10,
ksi: 48.7 degree,
R0: 3.477m,
Rmax: 3.53m,
Rmin: 2.88m,
Gap: 9.5cm.
RF MA Cavity
RF MA Cavity
Injection Line

## Slide 13
FFA Magnet
Field clamp plates
Water cooling manifold
Steel yoke
18 Trim coils (2 layers)
Main coil
Electrical power cables
Water feed
Water return
Trim coils only shown on lower pole
965mm
2000mm
2710mm
Weight 22 t
Pole

## Slide 14
Trim Coils
Single trim coil wound with 10mm conductor with Ø6mm hole
Single trim coil wound with 10mm conductor with Ø6mm hole
9 coils in each layer
Braze connector blocks for water and electrical connections
Braze connector blocks for water and electrical connections
9 coils in each layer
9 coils in each layer

## Slide 15
36°
Ring Vacuum Chamber – Stainless Steel
35mm vertical aperture
Vacuum chamber 8mm wall thickness
51mm chamber
2710mm
Trim coil layer 1
Trim coil layer 2
Upper pole
Lower pole
Trim coil layer 1
Trim coil layer 2
10mm Trim coil
95mm pole gap
2mm clearance for deflection due to vacuum load and geometric flatness
Pole region
Stengthening ribs

## Slide 16
Ring Vacuum Chamber – Finite Element Analyses by Mitchell Kane
Pole region
Pole region

## Slide 17
400mm
915mm
FFA MA Cavity
5 cores 25mm thick
RF Cavity
BPM
Cavity
Cavity
BPM
BPM
BPM
BPM
WCM
BPM
WS
BPM
BPM
BPM
WS
BPM

## Slide 18
Spiral angle 53.9 degree
FFA Ring - spiral angle 53.9 degrees
Spiral angle 48.7 degree
Pole
Pole
Injection line requires change in angle
RF cavity size increase
Reduced space between magnets

## Slide 19
High Energy Line
High Energy In Vitro Station
High Energy In Vivo Station
High Energy In Vitro Station

## Slide 20
Questions
Any questions that cannot be answered by the team in attendance can be sent to myself at
clive.hill@stfc.ac.uk
Thank you